## Sheet1
Minimum Required LEED Points for ISU New Construction Capital Building Projects
[6 empty] | 2009 LEED-NC Rating System | [9 empty] | http://www.leedbuilding.org/ShowFile.aspx?DocumentID=5546
[6 empty] | Project Checklist |  | Official Capital Project Title
| Rating Categories | [9 empty] | Certified 40 - 49 points Silver 50 - 59 points Gold 60 - 79 points Platinum 80 - 110 points | [7 empty] | Possible Points: 110
| SS Sustainable Sites | [7 empty] | Possible Points: 26 |  |  |  | MR Materials & Resources | [5 empty] | Possible Points: 14
[8 empty] | Number of Points: | Possible | Project | [7 empty] | Number of Points: | Possible | Project
ISU | Y | ? | N | SS Prereq 1 | Construction Activity Pollution Prevention |  |  |  | Required | 0 |  | ISU | Y | ? | N | MR Prereq 1 | Storage & Collection of Recyclables |  | Required | 0
| Y | ? | N | SS Credit 1 | Site Selection |  |  |  | 1 |  |  |  | Y | ? | N | MR Credit 1.1 | Building Reuse (1 - 3 points) - Maintain Existing Walls, Floors & Roof |  | 3
| Y | ? | N | SS Credit 2 | Development Density & Community Connectivity |  |  |  | 5 |  |  |  | Y | ? | N | MR Credit 1.2 | Building Reuse - Maintain Interior Non-Structural Elements |  | 1
| Y | ? | N | SS Credit 3 | Brownfield Redevelopment |  |  |  | 1 |  |  | ISU | Y | ? | N | MR Credit 2 | Construction Waste Management (1 - 2 points) |  | 2 | 2
ISU | Y | ? | N | SS Credit 4.1 | Alternative Transportation - Public Transportation Access |  |  |  | 6 | 6 |  |  | Y | ? | N | MR Credit 3 | Materials Reuse (1 - 2 points) |  | 2
| Y | ? | N | SS Credit 4.2 | Alternative Transportation - Bicycle Storage & Changing Rooms |  |  |  | 1 |  |  | ISU | Y | ? | N | MR Credit 4 | Recycled Content (1 - 2 points) |  | 2 | 2
| Y | ? | N | SS Credit 4.3 | Alternative Transportation - Low-Emitting & Fuel-Efficient Vehicles |  |  |  | 3 |  |  | ISU | Y | ? | N | MR Credit 5 | Regional Materials (1 - 2 points) |  | 2 | 1
| Y | ? | N | SS Credit 4.4 | Alternative Tranportation - Parking Capacity |  |  |  | 2 |  |  |  | Y | ? | N | MR Credit 6 | Rapidly Renewable Materials |  | 1
| Y | ? | N | SS Credit 5.1 | Site Development - Protect or Restore Habitat |  |  |  | 1 |  |  |  | Y | ? | N | MR Credit 7 | Certified Wood |  | 1
| Y | ? | N | SS Credit 5.2 | Site Development - Maximum Open Space |  |  |  | 1 | [8 empty] | Point Total: | 14 | 5
ISU | Y | ? | N | SS Credit 6.1 | Stormwater Design - Quantity Control |  |  |  | 1 | 1
| Y | ? | N | SS Credit 6.2 | Stormwater Design - Quality Control |  |  |  | 1
ISU | Y | ? | N | SS Credit 7.1 | Heat Island Effect - Non-Roof |  |  |  | 1 | 1 |  |  | IEQ Indoor Environmental Quality | [5 empty] | Possible Points: 15
ISU | Y | ? | N | SS Credit 7.2 | Heat Island Effect - Roof |  |  |  | 1 | 1 | [7 empty] | Number of Points: | Possible | Project
ISU | Y | ? | N | SS Credit 8 | Light Pollution Reduction |  |  |  | 1 | 1 |  | ISU | Y | ? | N | IEQ Prereq 1 | Minimum IAQ Performance |  | Required | 0
[8 empty] | Point Total: | 26 | 10 |  | ISU | Y | ? | N | IEQ Prereq 2 | Environmental Tobacco Smoke (ETS) Control |  | Required | 0
[12 empty] | ISU | Y | ? | N | IEQ Credit 1 | Outdoor Air Delivery Monitoring |  | 1 | 1
[12 empty] | ISU | Y | ? | N | IEQ Credit 2 | Increased Ventilation |  | 1 | 1
| WE Water Efficiency | [7 empty] | Possible Points: 10 |  |  | ISU | Y | ? | N | IEQ Credit 3.1 | Construction IAQ Management Plan During Construction |  | 1 | 1
[8 empty] | Number of Points: | Possible | Project |  | ISU | Y | ? | N | IEQ Credit 3.2 | Construction IAQ Management Plan Before Occupancy |  | 1 | 1
ISU | Y | ? | N | WE Prereq 1 | Water Use Reduction |  |  |  | Required | 0 |  | ISU | Y | ? | N | IEQ Credit 4.1 | Low-Emitting Materials - Adhesives & Sealants |  | 1 | 1
ISU | Y | ? | N | WE Credit 1 | Water Efficient Landscaping (2 - 4 points) |  |  |  | 4 | 4 |  | ISU | Y | ? | N | IEQ Credit 4.2 | Low-Emitting Materials - Paints & Coatings |  | 1 | 1
|  | ? | N | WE Credit 2 | Innovative Wastewater Technologies |  |  |  | 2 |  |  | ISU | Y | ? | N | IEQ Credit 4.3 | Low-Emitting Materials - Flooring Systems |  | 1 | 1
ISU | Y | ? | N | WE Credit 3 | Water Use Reduction (2 - 4 points) |  |  |  | 4 | 3 |  | ISU | Y | ? | N | IEQ Credit 4.4 | Low-Emitting Materials - Composite Wood & Agrifiber Products |  | 1 | 1
[8 empty] | Point Total: | 10 | 7 |  | ISU | Y | ? | N | IEQ Credit 5 | Indoor Chemical & Pollutant Source Control |  | 1 | 1
[12 empty] | ISU | Y | ? | N | IEQ Credit 6.1 | Controllability of Systems - Lighting |  | 1 | 1
[13 empty] | Y | ? | N | IEQ Credit 6.2 | Controllability of Systems - Thermal Comfort |  | 1
| EA Energy & Atmosphere | [7 empty] | Possible Points: 35 |  |  |  | Y | ? | N | IEQ Credit 7.1 | Thermal Comfort - Design |  | 1
[8 empty] | Number of Points: | Possible | Project |  |  | Y | ? | N | IEQ Credit 7.2 | Thermal Comfort - Verification |  | 1
ISU | Y | ? | N | EA Prereq 1 | Fundamental Commissioning of Building Energy Systems |  |  |  | Required | 0 |  | ISU | Y | ? | N | IEQ Credit 8.1 | Daylight and Views - Daylight |  | 1 | 1
ISU | Y | ? | N | EA Prereq 2 | Minimum Energy Performance |  |  |  | Required | 0 |  | ISU | Y | ? | N | IEQ Credit 8.2 | Daylight and Views - Views |  | 1 | 1
ISU | Y | ? | N | EA Prereq 3 | Fundamental Refrigerant Management |  |  |  | Required | 0 | [7 empty] | Point Total: | 15 | 12
ISU | Y | ? | N | EA Credit 1 | Optimize Energy Performance (1 - 19 points) |  |  |  | 19 | 12
| Y | ? | N | EA Credit 2 | On-Site Renewable Energy (1 - 7 points) |  |  |  | 7
ISU | Y | ? | N | EA Credit 3 | Enhanced Commissioning |  |  |  | 2 | 2 |  |  | ID Innovation In Design | [5 empty] | Possible Points: 6
| Y | ? | N | EA Credit 4 | Enhanced Refrigeration Management |  |  |  | 2 | [8 empty] | Number of Points: | Possible | Project
ISU | Y | ? | N | EA Credit 5 | Measurement & Verification |  |  |  | 3 | 3 |  | ISU | Y | ? | N | ID Credit 1 | Innovation in Design (1 - 5 points) |  | 5 | 5
| Y | ? | N | EA Credit 6 | Green Power |  |  |  | 2 |  |  | ISU | Y | ? | N | ID Credit 2 | LEED® Accredited Professional |  | 1 | 1
[8 empty] | Point Total: | 35 | 17 | [7 empty] | Point Total: | 6 | 6
[13 empty] | RP Regional Priority | [5 empty] | Possible Points: 4
[10 empty] | 60 | [7 empty] | Number of Points: | Possible | Project
[6 empty] | Points | P r o j e c t C a t e g o r y |  | Points |  |  |  | Y | ? | N | SS Credit 2 | Development Density & Community Connectivity |  | 1
|  | LEED-NC Rating: | [9 empty] | ISU | Y | ? | N | SS Credit 4.1 | Alternative Transportation - Public Transportation Access |  | 1 | 1
[6 empty] | --- | ----- | Gold | 60 |  |  |  | Y | ? | N | SS Credit 4.2 | Alternative Transportation - Bicycle Storage & Changing Rooms |  | 1
[12 empty] | ISU | Y | ? | N | SS Credit 6.1 | Stormwater Design - Quantity Control |  | 1 | 1
[6 empty] | --- | ----- | ----- | --- |  |  |  | Y | ? | N | WE Credit 2 | Innovative Wastewater Technologies |  | 1
[12 empty] | ISU | Y | ? | N | MR Credit 2 | Construction Waste Management (75%) |  | 1 | 1
[18 empty] | Point Total: | 4 | 3
[10 empty] | For compliance details, see the Green Building Design and Construction Reference Guide, 2009 Edition. |  | http://www.usgbc.org/Store/PublicationsList_New.aspx