| Nomenclature | Default Field ID | Definition | Keyword |
| --- | --- | --- | --- |
| Air Cooled Condenser | ACC | Refrigeration condenser only. Usually located outdoors. If the refrigeration compressor is located in the same package then use RCU. | CONDENSER |
| Evaporative Air Conditioner | ACE | Less than 2000 CFM or 2 hp Primary Function is Evaporative Cooling May have Heating/Ventilation or humidification Normally serves a single room/zone Specifically intended for greenhouse swamp coolers | AC/EVAP |
| Computer/Node Room Air Conditioner | ACF or CRAC | Less than 2000 CFM or 2 hp Primary Function is Cooling May have Heating/Ventilation or humidification Normally serves a single room/zone Can be DX, chilled water or other cooling Specifically intended for high priority areas such as telephone node and computer rooms. | AC/COMPUTR |
| Air Compressor Unit | ACU | Individual compressors on separate pads marked separately Single and duplex compressors mounted on a tank are marked as one unit Use ATK for stand alone air tanks | COMP/AIR |
| Self-Contained Air Conditioner | ACS | A unit with all necessary components to air condition in an enclosure | AC/SELF |
| Window Air Conditioner | ACW | Self contained, window mounted air conditioner | AC/WINDOW |
| Alarm Expander Panel | AEP | Supplies additional power for fire alarm signaling devices | PANEL/EXP |
| Air Filter Unit | AFU | Used to identify and locate a filtering unit that is located some distance away from the equipment it serves and cannot be considered part of that equipment. Compressed air filter -or- HVAC filter box | FILTER/AIR |
| Air Handling Unit | AHU | Greater or equal to 2000 CFM or 2 hp. Ventilation with Heating and/or Cooling Heating/Cooling source is not a factor May or may not have a humidifier | AIR HANDLR |
| Application Specific Controller | ASC | Metasys Only units with main chilled sensors that require special calibration procedures are inventoried at this time | DDC |
| Air Separator Unit | ASU | Connected to hydronic system, usually near a pump | SEPARATOR |
| Autoclave | ATC | A pressure vessel that heats material that is sealed inside the unit and generally used to sterilize that material. Energy source is not a factor Location is not a factor Only units requiring state certification are inventoried and maintained by FP&M. Smaller units are the owning department’s responsibility. | AUTOCLAVE |
| Air Tank | ATK | Stand alone compressed air tank. Units with compressors mounted on them are Air Compressor Units. Every tank needs to be checked as to manual or automatic draining. Assign tasks accordingly. | TANKS |
| Automatic Transfer Switch | ATS | Transfers power to generator in power outage | TRANSFERSW |
| Battery Power Supply | BAT | Inverter supplied battery storage unit. A unit that is a standby electrical source for a specific area or piece of equipment. Energy source is not a factor Location is not a factor | INVERTER |
| Building Exhaust Fan | BEF | Large independent fans used for to exhaust air from multiple rooms. If exhaust is from individual rooms use HEF or REF as fits. | FANS |
| Boiler (autoclave) | BLA | Steam generator mounted under or near an autoclave. | BOILER |
| Steam Boiler | BLS | A unit used to generate steam for use by other units. Energy source is not a factor Excludes autoclave boilers (BLA) Location is not a factor | BOILER |
| Water Boiler | BLW | A unit used to generate hot water for use by other units. Energy source is not a factor Location is not a factor | BOILER |
| Backflow Prevention Device | BPD | Connected to water line prevents water backflow | BACKFLOW |
| Brine Water Pump | BWP | Used to circulate brine water. | PUMPS |
| Chilled Beam Pump | CBP | Pumps chilled water to chilled beams | PUMPS |
| Coil Circulating Pump | CCP | Used to circulate water between the coil and the 3-way valve on an air handling unit. Sometimes refereed to by others as a secondary pump. | PUMPS |
| Condensate Pump | CDP | Used to pump steam condensate from a receiver tank. | PUMPS |
| Chimney Exhaust Fan | CEF | A fan which exhausts products of combustion, usually from a boiler |  |
| Circulation Fan | CFA | Used to circulate air | FANS |
| Chiller | CHL | Works like an air conditioner but uses chilled water for cooling | CHILLER |
| Chemical Injection Pump | CIP | Used to pump chemicals into a system | PUMPS |
| Crane/Hoist | CRN | Used to move material both vertically and horizontally. | CRANE |
| Chemical Tank | CTK | Hold chemicals for a system | TANKS |
| Cooling Tower | CTW |  | TOWER |
| Cabinet Unit Heater | CUH | Less than 2000 CFM No ventilation Heating only Heating source not a factor Location indoors only, in entrances | FAN COIL |
| Central Vacuum Unit | CVU | Vacuum pump that serves many outlets for vacuuming | SHOP EQ. |
| Chilled Water Pump | CWP | Circulates chilled water | PUMPS |
| Desiccant Air Dryer | DAD | Uses a desiccant material to remove moisture from the air | DRYER/DES |
| Dust Exhaust Fan | DEF | Shop exhaust/vacuum fan | FANS |
| Dehumidifier | DEH | Removes moisture from the air | DEHUMID |
| Deionization Unit | DIU | Produces pure water | DI UNIT |
| Dock Lift, Electric | DLE | Electrically powered dock lift | LIFTS |
| Dock Lift, Hydraulic | DLH | Hydraulic powered dock lift | LIFTS |
| Dock Lift, Mechanical | DLM | Manually powered dock lift | LIFTS |
| Dock Lift, Pneumatic | DLP | Pneumatically powered dock lift | LIFTS |
| Dumbwaiter | DMW | A unit that is used to material vertically through a building. The unit may be hydraulic or traction (cable) activated. | DUMBWAITER |
| Drainage Water Pump | DWP | Storm drainage water pump. Typically a submersible pump in a pit. | PUMPS |
| Fuel Tank | DTK | Tank typically containing diesel fuel for emergency generators | TANK/PETRO |
| Extinguishing Agent Cylinder | EAC | A cylinder containing a fire extinguishing substance | CYLINDER |
| Electronic Air Filter | EAF | Filter media typically composed of an electrified wire grid | FILTER/ELE |
| Environmental Alarm Panel | EAP | An environmental hazard detection system used to generate a local or remote annunciation for a specific area. | PANEL/ENVI |
| Exit/Emergency | ECL | Combination exit and emergency light | LIGHT |
| Emergency Eyewash | EEW | A plumbing fixture used to wash contaminates from the eyes of an individual. | EYEWASH |
| Cable Elevator | ELC | A unit that is used to move people or material vertically through a building. The unit is traction (cable) activated. | ELEVATOR/C |
| Hydraulic Elevator | ELH | A unit that is used to move people or material vertically through a building. The unit is hydraulic activated. | ELEVATOR/H |
| Emergency Light | EML | A light which switches on automatically during a power outage | LIGHT |
| Energy Recovery Ventilator | ERV or ERU | A unit that heats or cools outdoor air using the exhaust air from a space. | HEAT RECOV |
| Emergency Shower/Eyewash | ESE | A plumbing fixture used to wash contaminants from the total body and eyes of an individual. This is a combination of eyewash and an emergency shower in one unit. | SHOWER/EYE |
| Emergency Shower | ESH | A plumbing fixture used to wash contaminants from the total body of an individual. | SHOWERS |
| Expansion Tank | ETK | In a heating water system, a tank to allow for expansion of heated water | TANK/EXP |
| Evaporator | EVP | Part of air conditioner system. Evaporator coil absorbs heat | EVAPORATOR |
| Electric Water Heater | EWH | A water heater powered by electricity | WATER HTR |
| Exit Light | EXL | A light to mark an exit | LIGHTS |
| Exterior Lights | EXT | Lights on building exterior | LIGHTS |
| Fire Alarm Panel | FAP | A fire/smoke detection system used to generate a local or remote annunciation for a specific area. | PANEL/FIRE |
| Fan Coil Unit | FCU | Less than 2000 CFM No ventilation Heating and/or Cooling Heating/Cooling source not a factor Location indoors only | FAN COIL |
| Fire Extinguishing Panel | FEP | Equipment used for automatic fire extinguishing. Includes related fire detection equipment. | PANEL/FIRE |
| Field Equipment Unit | FEU | A Building Automation controller | DDC |
| Fire Pressurization Fan | FPF | A fan used to limit smoke spread in a building | FANS |
| Fire/Smoke Damper | FSD | A damper in an air distribution system that closes to prevent the spread of fire or smoke |  |
| Flash Tank | FTK | A tank which allows high-pressure condensate to flash to a reduced pressure steam. | TANKS |
| .Furnace | FUR | Residential style forced air unit Less than 2000 CFM Energy source Gas/Oil/Electricity Heating only -or- Heating and Cooling A cooling unit only, is not a furnace Location is not a factor | FURNACE |
| Feedwater Pump | FWP | Used to maintain the fluid level in a closed system, such as a boiler system. | PUMPS |
| Generator | GEN | Power driven electrical generator. A unit that is a standby electrical source for a specific area or piece of equipment. Energy source is not a factor Location is not a factor | GENERATOR |
| Gas Water Heater | GWH | Water heater powered by natural gas. | WATER HTR |
| Glycol Water Pump | GWP | Water pump that pumps a water and glycol mix | PUMPS |
| Hood Exhaust Fan | HEF | Fan over lab enclosure only - exhausts the enclosure. | FANS |
| HEPA Filter Unit | HFA | A filter enclosure containing HEPA style filters | FILTER/AIR |
| Heat Pump | HP | Refrigeration condensing unit which assists in heating and cooling | COMP/REFR |
| Heat Recovery Unit | HRU | Unit recovers heat from building exhaust air. | HEAT RECOV |
| Humidifier | HUM | Humidifier box connected to air system | HUMIDIFIER |
| Hot Water Pump | HWP | The primary delivery pump in a hot water heating system. | PUMPS |
| Heat Exchanger Unit | HXU | Unit that exchanges heat from steam to water for heating | HEAT EXCH |
| Intrusion Alarm Panel | IAP | Security system | PANEL/INTR |
| Incipient Detector Panel | IDP | A very-early smoke detection system | PANEL/INC |
| Interior Light Fixture | ILF | Indoor lighting | LIGHTS |
| Kiln | KLN | A large oven used for drying or heat treating materials | KILN |
| Sprinkler Water Pump | KWP | A pump used to maintain water pressure in a fire sprinkler system | PUMPS |
| Ladder | LAD | Ladder | SHOP EQ. |
| Make-up Air Fan | MAF | Supplies outside air to a space | FANS |
| Motorized Fire Door | MFD | Motor driven interior door to close off an interior space in case of fire | DOOR/FIRE |
| Motorized Overhead Door | MOD | Motor driven overhead door | DOOR/OVER |
| Network Automation Engine | NAE | A Building Automation System controller | DDC |
| Network Controller Engine | NCE | A Building Automation System controller | DDC |
| Network Integration Engine | NIE | A Building Automation System controller | DDC |
| Network Control Unit | NCU | A Building Automation System controller | DDC |
| Non-motorized Fire Door | NFD | Spring or gravity powered door to close off an interior space in case of fire | DOOR/FIRE |
| Nitrogen Generator | NGU | Generates nitrogen | FILTER/AIR |
| Fuel Oil Tank | OTK | Fuel oil storage tank | TANKS |
| Process Water Pump | PCW | Pumps process water, typically condenser water for refrigeration water cooled condensers | PUMPS |
| Air Pressure Regulator | PRA | Valve that regulates air pressure | VALVE/REG |
| Pressure Reducing Valve | PRV | Valve that reduces steam pressure | VALVE/REG |
| Pure Water Pump | PWP | Recirculates water in a Pure water system | PUMPS |
| Refrigerated Air Dryer | RAD | Cools compressed air to remove moisture | DRYER/REF |
| Refrigeration Compressor Unit | RCU | Remote compressor and condenser. | COMP/REFR |
| Room Exhaust Fan | REF | Normally serves only 1 or 2 rooms. | FANS |
| Return Fan | RFA | Normally returns air to Air Handler | FANS |
| Radiant Heating Unit | RHU | Usually a gas-fired infrared heater | RHU |
| Reverse Osmosis Unit | ROU | Filters water | R O UNIT |
| Room Pressure Controller | RPC | A Building Automation System controller | DDC |
| Environmental Chamber | RSE | Controlled temperature and humidity room | ENVCHAMBER |
| Refrigerator | RSF | A cooled space or area using mechanical refrigeration, normally direct expansion (DX). | REFRIG |
| Freezer | RSZ | A below-freezing space or area using mechanical refrigeration, normally direct expansion (DX). | FREEZER |
| Receiver Tank | RTK | A tank containing steam condensate | TANK/CDR |
| Recirculating Pump | RWP | Fractional horsepower pump to recirculate domestic water to maintain a constant temperature in the system or a pump used to circulate fluid in a closed loop heat recovery system or a pump used to circulate water in a evaporative cooling application. | PUMPS |
| Stand Alone Smoke Alarm | SAS | A single smoke detector used to generate a local annunciation for a specific area. | SMOKEALARM |
| Smoke Exhaust Fan | SEF | Exhaust fan that ventilates smoke from a space | FANS |
| Supply Fan | SFA | Intake fans that supply air to an air handling system | FANS |
| Sump Pump | SMP | Used to pump water from an elevator pit. It is often a submersible pump. | PUMPS |
| Steam Water Heater | SWH | Domestic water heater powered by steam | WATER HTR |
| Sewage Pump | SWP | Pumps sewage | PUMPS |
| Terminal Air Box | TAB | Air box at end of air duct. May provide heat via hot water line or electrical. Allows control of air flow to a room |  |
| Trap | TRP | Steam trap traps water condensate in steam lines | TRAP |
| Unit Heater | UHU | Less than 2000 CFM Exposed hanging units only Heating only Heat source is not a factor Location indoors only | UNIT HEATR |
| Unit Ventilator | UVU | Less than 2000 CFM Ventilation with Heating and/or Cooling Heating/Cooling source not a factor May or may not have a humidifier Location is not a factor | UNIT VENT |
| Vacuum Pump | VCP | Provides vacuum, usually to labs | VAC PUMP |
| Variable Frequency Drive | VFD | Controls attached motor speeds by variable frequencies for an AC motor | VFD |
| Vacuum Tank | VTK | A tank used to increase capacity of a vacuum system | TANKS |
| Water Cooled Condenser | WCC | Refrigeration condenser using water as the cooling source | CONDENSER |
| Wheel Chair Lift | WCL |  | CHAIR LIFT |
| Water Filter Unit | WFU | Filter unit filters debris out of water system | FILTER/WAT |
| Booster Water Pump | WPB | Pump boosts pressure in water line | PUMPS |
| Cold Water Pump (Submersible) | WPC | Pumps cold water | PUMPS |
| Water Softener Unit | WSU | Residential water softener unit | SOFTENER |
| Water Tank | WTK | Water holding tank | TANKS |