NPDES-Site Inspection Sheet

Regular, timely inspections are critical – conduct inspections weekly and after every rainfall event of ½ inch or more.

Inspection data

Site location:

Routine inspection for week ending:

Pre-rain | during | post rain inspection and time elapsed since rain:

Date:       	Time:

Inspected by (name and title):

| Signature: |  |
| --- | --- |

|  |  | OK? | problem identified ¦ action taken |
| --- | --- | --- | --- |
| 1. | Erosion control practices in place and functioning? (mulch, seeding, blankets) |  |  |
| 2. | Sediment traps, barriers and basins clean and functioning properly? |  |  |
| 3. | Sediment controls in place at site perimeter and storm drain inlets? |  |  |
| 4. | Discharge points free of any noticeable pollutant discharges? |  |  |
| 5. | Sediment, mud and debris being cleaned from public roads? Is there a stable, rocked entrance to the site? Are there adequate provisions to prevent mud tracking off site? |  |  |
| 6. | All exposed slopes protected from erosion through acceptable soil stabilization practices? |  |  |
| 7. | Temporary stockpiles or construction materials located in approved areas and protected from erosion? |  |  |
| 8. | Is the site seeded and mulched or blanketed? Include dates seeded and estimated percentage of cover established. |  |  |
| 9. | Are dust control measures appropriately implemented? |  |  |
| 10. | Material handling and storage, and equipment storage and maintenance areas clean and free of spills and leaks? |  |  |
| 11. | On-site traffic routes, parking and storage restricted to designated areas? |  |  |
| 12. | Are ALL erosion control devises in place and functioning in accordance with the site’s erosion control plan? |  |  |
| 13. | The onsite PPP has been updated to address any modifications to control measures. |  |  |

/tmp/in/input.doc